Accutron Digital Test Set — Version 1 Parts Checklist

Core Analog Supply Section

Precision Voltage Control

- Bourns 3590S-2-102L

  - 1K 10-turn precision potentiometer

- Model 21 turns counting dial

  - for 3590S potentiometer

Precision Voltage Reference

- LM4040AIZ-2.5

  - 2.5V precision voltage reference

Current Sense + Protection

- 1k ohm 0.1 percent metal film resistor 1/4 watt

  - current sense resistor

- 470 ohm 1 percent metal film resistor 1/4 watt

  - output protection resistor

- 2.2k ohm 1 percent metal film resistor 1/4 watt

  - LM4040 reference feed resistor

Capacitors

- 47uF 16V electrolytic capacitor

- 10uF 10V electrolytic capacitor

- 0.1uF ceramic capacitor

  - buy several

Digital Measurement Section

Microcontroller

- Arduino Nano ATmega328P CH340 USB-C

Precision ADC

- ADS1115 16 bit I2C ADC module

Display

- 0.96 inch I2C OLED SSD1306 128x64

Power Section

Battery

- 9V battery clip

Optional:

- 9V battery holder

Arduino Power

- MT3608 5V boost converter module

Switches

- mini toggle switch SPST

  - Qty: 2 recommended

    - main power

    - output enable

Output Hardware

Output Jacks

- 2mm banana binding posts

OR

- mini banana binding posts

Test Leads

Preferred:

- Pomona micro grabber test leads

Budget:

- mini grabber test clips

Wiring / Assembly

Wiring

- 22AWG silicone hook up wire

- female dupont jumper wires

- male header pins 2.54mm

Construction

- prototype perfboard

Optional Recommended Extras

- 1N5817 Schottky diode

  - reverse polarity protection

- heat shrink tubing assortment

- M2.5 standoff kit

  - for mounting Nano/OLED

- rubber feet

- USB-C panel extension

  - optional external Nano programming access